## Slide 1
Highway 47 Bridge
August 16, 2023
Tori Mack, PE
Project Engineer, Water Resources
Dan Bare, PE
Senior Water Resources Engineer
Drew Beck, PE
Director, Water Resources
Matrix Design Group, Inc.

## Slide 2
Highway 47 Project Background
3,000 ft upstream of the Highway 47 Bridge
Completed in partnership with the District and CDOT.
Construction completed August 2018
Budget: $6.0 Million
  District: $4.5 Million
  CDOT: $1.5 Million

## Slide 3
Highway 47 Project Background
Project objectives
  Infrastructure protection
  Channel realignment
  Restoration of native vegetation
Project Impact
  Highway 47 bridge protected
  Reduction of 9,200 tons of sediment per year
  Over 8.2 AC revegetated
October 2017
August 2019

## Slide 4
Gage Hydrology
Recurrence Interval | Mean Annual Flow | Bankfull Flow | 2-Year | 5-Year | 10-Year | June 16, 2015 Event | 50-Year | 100-Year | 500-Year
Discharge (ft3/s) | 158 | 2,990 | 4,600 | 9,500 | 14,400 | 18,500 | 30,200 | 39,600 | 70,000
Design Hydrology
10-year
Project Assessment
2-year
Bankfull
Mean Annual

## Slide 5
Site Aerial – Spring 2023

## Slide 6
Flooding Overview

## Slide 7
Flooding Overview

## Slide 8
Channel Migration at the Bollards
Spring 2023, NearMaps Aerial
July 2023, Matrix Drone Image

## Slide 9
Pre-Flooding Pictures – November 2022
Looking upstream toward the Bollards
Looking downstream into the Highway 47 project
Close up of material build up on Bollards

## Slide 10
Post-Flooding Pictures – June 2023
Looking upstream toward the Bollards
Debris caught by Bollards and path of flow

## Slide 11
Wetland Losses

## Slide 12
Flooding Overview

## Slide 13
Middle Bend
Spring 2023, NearMaps Aerial
July 2023, Matrix Drone Image

## Slide 14
Middle Bend

## Slide 15
Flooding Overview

## Slide 16
Lower Bend
July 2023, Matrix Drone Image
Spring 2023, NearMaps Aerial

## Slide 17
Lower Bend

## Slide 18
Highway 47 Bridge
Not at risk at this time

## Slide 19
Recommendations
Eagleridge project
  Removal of the bollards
Upper bend
  Rebuild riprap bend protection
  Reestablish design channel cross section
Middle bend
  Repair lower half of riprap bend protection
  Regrade point bar
Cost Estimate | $1,294,425
AACE Class 4 Low Estimate (-30%) | $1,100,261
AACE Class 4 Upper Estimate (+50%) | $1,553,310